{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":803,"n_cols":7,"rows_kept":803,"cut":false,"hidden":false,"merged":[]}
["■面内断面力"]
["◆基本荷重ケース 1："]
["部材番号 1 ( 1 - 2 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,376.00799999999998,-72.587999999999994,-1662.577,0]
[null,1,0.111,369.24700000000001,-49.78,-1662.577,8.9999999999999993E-3]
[null,2,0.221,365.00599999999997,-26.972999999999999,-1662.577,8.9999999999999993E-3]
[null,"j",0.33200000000000002,363.286,-4.165,-1662.577,0]
[null,"MAX",0,376.00799999999998,-72.587999999999994,-1662.577,"---"]
[null,"MIN",0.33200000000000002,363.286,-4.165,-1662.577,"---"]
[]
["部材番号 2 ( 2 - 3 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,363.286,-149.053,-1655.8879999999999,0]
[null,1,0.111,348.07499999999999,-126.245,-1655.8879999999999,8.0000000000000002E-3]
[null,2,0.221,335.38499999999999,-103.438,-1655.8879999999999,8.0000000000000002E-3]
[null,"j",0.33200000000000002,325.21499999999997,-80.63,-1655.8879999999999,0]
[null,"MAX",0,363.286,-149.053,-1655.8879999999999,"---"]
[null,"MIN",0.33200000000000002,325.21499999999997,-80.63,-1655.8879999999999,"---"]
[]
["部材番号 3 ( 3 - 4 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,325.21499999999997,-224.73099999999999,-1642.547,0]
[null,1,0.111,301.64100000000002,-201.923,-1642.547,7.0000000000000001E-3]
[null,2,0.221,280.58800000000002,-179.11600000000001,-1642.547,7.0000000000000001E-3]
[null,"j",0.33200000000000002,262.05500000000001,-156.30799999999999,-1642.547,0]
[null,"MAX",0,325.21499999999997,-224.73099999999999,-1642.547,"---"]
[null,"MIN",0.33200000000000002,262.05500000000001,-156.30799999999999,-1642.547,"---"]
[]
["部材番号 4 ( 4 - 5 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,262.05500000000001,-298.69900000000001,-1622.7049999999999,0]
[null,1,0.111,231.905,-247.00800000000001,-1622.7049999999999,5.0000000000000001E-3]
[null,2,0.221,207.46600000000001,-195.31700000000001,-1622.7049999999999,5.0000000000000001E-3]
[null,"j",0.33200000000000002,188.74,-143.626,-1622.7049999999999,0]
[null,"MAX",0,262.05500000000001,-298.69900000000001,-1622.7049999999999,"---"]
[null,"MIN",0.33200000000000002,188.74,-143.626,-1622.7049999999999,"---"]
[]
["部材番号 5 ( 5 - 6 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,188.74,-284.59100000000001,-1603.998,0]
[null,1,0.111,160.148,-232.899,-1603.998,4.0000000000000001E-3]
[null,2,0.221,137.268,-181.20699999999999,-1603.998,4.0000000000000001E-3]
[null,"j",0.33200000000000002,120.1,-129.51499999999999,-1603.998,0]
[null,"MAX",0,188.74,-284.59100000000001,-1603.998,"---"]
[null,"MIN",0.33200000000000002,120.1,-129.51499999999999,-1603.998,"---"]
[]
["部材番号 6 ( 6 - 7 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,120.1,-268.81900000000002,-1586.606,0]
[null,1,0.111,93.251000000000005,-217.12700000000001,-1586.606,2E-3]
[null,2,0.221,72.114000000000004,-165.435,-1586.606,2E-3]
[null,"j",0.33200000000000002,56.689,-113.74299999999999,-1586.606,0]
[null,"MAX",0,120.1,-268.81900000000002,-1586.606,"---"]
[null,"MIN",0.33200000000000002,56.689,-113.74299999999999,-1586.606,"---"]
[]
["部材番号 7 ( 7 - 8 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,56.689,-251.59200000000001,-1570.655,0]
[null,1,0.111,31.742999999999999,-199.9,-1570.655,1E-3]
[null,2,0.221,12.51,-148.208,-1570.655,0]
[null,"j",0.33200000000000002,-1.0109999999999999,-96.516000000000005,-1570.655,0]
[null,"MAX",0,56.689,-251.59200000000001,-1570.655,"---"]
[null,"MIN",0.33200000000000002,-1.0109999999999999,-96.516000000000005,-1570.655,"---"]
[]
["部材番号 8 ( 8 - 9 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-1.0109999999999999,-233.04,-1556.2660000000001,0]
[null,1,0.111,-23.907,-181.34800000000001,-1556.2660000000001,-1E-3]
[null,2,0.221,-41.09,-129.65600000000001,-1556.2660000000001,-1E-3]
[null,"j",0.33200000000000002,-52.561,-77.963999999999999,-1556.2660000000001,0]
[null,"MAX",0,-1.0109999999999999,-233.04,-1556.2660000000001,"---"]
[null,"MIN",0.33200000000000002,-52.561,-77.963999999999999,-1556.2660000000001,"---"]
[]
["部材番号 9 ( 9 - 10 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-52.561,-213.30500000000001,-1543.549,0]
[null,1,0.111,-73.275999999999996,-161.613,-1543.549,-2E-3]
[null,2,0.221,-88.278999999999996,-109.92100000000001,-1543.549,-2E-3]
[null,"j",0.33200000000000002,-97.569000000000003,-58.228999999999999,-1543.549,0]
[null,"MAX",0,-52.561,-213.30500000000001,-1543.549,"---"]
[null,"MIN",0.33200000000000002,-97.569000000000003,-58.228999999999999,-1543.549,"---"]
[]
["部材番号 10 ( 10 - 11 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-97.569000000000003,-192.53700000000001,-1532.6010000000001,0]
[null,1,0.111,-115.989,-140.845,-1532.6010000000001,-3.0000000000000001E-3]
[null,2,0.221,-128.697,-89.153000000000006,-1532.6010000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-135.69200000000001,-37.46,-1532.6010000000001,0]
[null,"MAX",0,-97.569000000000003,-192.53700000000001,-1532.6010000000001,"---"]
[null,"MIN",0.33200000000000002,-135.69200000000001,-37.46,-1532.6010000000001,"---"]
[]
["部材番号 11 ( 11 - 12 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-135.69200000000001,-170.893,-1523.5039999999999,0]
[null,1,0.111,-151.72,-119.20099999999999,-1523.5039999999999,-4.0000000000000001E-3]
[null,2,0.221,-162.036,-67.509,-1523.5039999999999,-4.0000000000000001E-3]
[null,"j",0.33200000000000002,-166.64,-15.817,-1523.5039999999999,0]
[null,"MAX",0,-135.69200000000001,-170.893,-1523.5039999999999,"---"]
[null,"MIN",0.33200000000000002,-166.64,-15.817,-1523.5039999999999,"---"]
[]
["部材番号 12 ( 12 - 13 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-166.64,-148.53899999999999,-1516.328,0]
[null,1,0.111,-180.19800000000001,-96.846999999999994,-1516.328,-4.0000000000000001E-3]
[null,2,0.221,-188.04300000000001,-45.154000000000003,-1516.328,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-190.17699999999999,6.5380000000000003,-1516.328,0]
[null,"MAX",0,-166.64,-148.53899999999999,-1516.328,"---"]
[null,"MIN",0.318,-190.22300000000001,0,-1516.328,"---"]
[]
["部材番号 13 ( 13 - 14 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-190.17699999999999,-125.64400000000001,-1511.127,0]
[null,1,0.111,-201.20500000000001,-73.951999999999998,-1511.127,-5.0000000000000001E-3]
[null,2,0.221,-206.52099999999999,-22.26,-1511.127,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-206.125,29.431999999999999,-1511.127,0]
[null,"MAX",0,-190.17699999999999,-125.64400000000001,-1511.127,"---"]
[null,"MIN",0.26900000000000002,-207.05,0,-1511.127,"---"]
[]
["部材番号 14 ( 14 - 15 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-206.125,-102.383,-1507.942,0]
[null,1,0.111,-214.58199999999999,-50.691000000000003,-1507.942,-5.0000000000000001E-3]
[null,2,0.221,-217.328,1.0009999999999999,-1507.942,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-214.36099999999999,52.692999999999998,-1507.942,0]
[null,"MAX",0,-206.125,-102.383,-1507.942,"---"]
[null,"MIN",0.219,-217.32900000000001,0,-1507.942,"---"]
[]
["部材番号 15 ( 15 - 16 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-214.36099999999999,-78.933000000000007,-1506.797,0]
[null,1,0.111,-220.227,-27.241,-1506.797,-5.0000000000000001E-3]
[null,2,0.221,-220.381,24.451000000000001,-1506.797,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-214.82300000000001,76.143000000000001,-1506.797,0]
[null,"MAX",0,-214.36099999999999,-78.933000000000007,-1506.797,"---"]
[null,"MIN",0.16900000000000001,-221.02,0,-1506.797,"---"]
[]
["部材番号 16 ( 16 - 17 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-214.82300000000001,-55.472999999999999,-1507.6990000000001,0]
[null,1,0.111,-218.09700000000001,-3.7810000000000001,-1507.6990000000001,-5.0000000000000001E-3]
[null,2,0.221,-215.65899999999999,47.911000000000001,-1507.6990000000001,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-207.50899999999999,99.602999999999994,-1507.6990000000001,0]
[null,"MAX",0.33200000000000002,-207.50899999999999,99.602999999999994,-1507.6990000000001,"---"]
[null,"MIN",0.11899999999999999,-218.113,0,-1507.6990000000001,"---"]
[]
["部材番号 17 ( 17 - 18 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-207.50899999999999,-32.180999999999997,-1510.643,0]
[null,1,0.111,-208.209,19.512,-1510.643,-5.0000000000000001E-3]
[null,2,0.221,-203.197,71.203999999999994,-1510.643,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-192.47200000000001,122.896,-1510.643,0]
[null,"MAX",0.33200000000000002,-192.47200000000001,122.896,-1510.643,"---"]
[null,"MIN",6.9000000000000006E-2,-208.61600000000001,0,-1510.643,"---"]
[]
["部材番号 18 ( 18 - 19 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-192.47200000000001,-9.2330000000000005,-1515.605,0]
[null,1,0.111,-190.637,42.459000000000003,-1515.605,-5.0000000000000001E-3]
[null,2,0.221,-183.089,94.150999999999996,-1515.605,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-169.82900000000001,145.84299999999999,-1515.605,0]
[null,"MAX",0.33200000000000002,-169.82900000000001,145.84299999999999,-1515.605,"---"]
[null,"MIN",0.02,-192.56399999999999,0,-1515.605,"---"]
[]
["部材番号 19 ( 19 - 20 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-169.82900000000001,1.9810000000000001,-1779.385,0]
[null,1,0.111,-166.75399999999999,53.673000000000002,-1779.385,-4.0000000000000001E-3]
[null,2,0.221,-157.96700000000001,105.36499999999999,-1779.385,-4.0000000000000001E-3]
[null,"j",0.33200000000000002,-143.46799999999999,157.05699999999999,-1779.385,0]
[null,"MAX",0.33200000000000002,-143.46799999999999,157.05699999999999,-1779.385,"---"]
[null,"MIN",0,-169.82900000000001,1.9810000000000001,-1779.385,"---"]
[]
["部材番号 20 ( 20 - 21 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-143.46799999999999,1.375,-1786.3030000000001,0]
[null,1,0.111,-140.46,53.067,-1786.3030000000001,-3.0000000000000001E-3]
[null,2,0.221,-131.74,104.759,-1786.3030000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-117.307,156.452,-1786.3030000000001,0]
[null,"MAX",0.33200000000000002,-117.307,156.452,-1786.3030000000001,"---"]
[null,"MIN",0,-143.46799999999999,1.375,-1786.3030000000001,"---"]
[]
["部材番号 21 ( 21 - 22 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-117.307,0.17,-1793.1410000000001,0]
[null,1,0.111,-114.43300000000001,51.862000000000002,-1793.1410000000001,-3.0000000000000001E-3]
[null,2,0.221,-105.846,103.554,-1793.1410000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-91.546999999999997,155.24600000000001,-1793.1410000000001,0]
[null,"MAX",0.33200000000000002,-91.546999999999997,155.24600000000001,-1793.1410000000001,"---"]
[null,"MIN",0,-117.307,0.17,-1793.1410000000001,"---"]
[]
["部材番号 22 ( 22 - 23 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-91.546999999999997,-1.627,-1799.848,0]
[null,1,0.111,-88.870999999999995,50.064999999999998,-1799.848,-2E-3]
[null,2,0.221,-80.481999999999999,101.75700000000001,-1799.848,-2E-3]
[null,"j",0.33200000000000002,-66.382000000000005,153.44900000000001,-1799.848,0]
[null,"MAX",0.33200000000000002,-66.382000000000005,153.44900000000001,-1799.848,"---"]
[null,"MIN",3.0000000000000001E-3,-91.55,0,-1799.848,"---"]
[]
["部材番号 23 ( 23 - 24 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-66.382000000000005,-4.0019999999999998,-1806.373,0]
[null,1,0.111,-63.968000000000004,47.69,-1806.373,-1E-3]
[null,2,0.221,-55.841999999999999,99.382000000000005,-1806.373,-1E-3]
[null,"j",0.33200000000000002,-42.003999999999998,151.07400000000001,-1806.373,0]
[null,"MAX",0.33200000000000002,-42.003999999999998,151.07400000000001,-1806.373,"---"]
[null,"MIN",8.9999999999999993E-3,-66.399000000000001,0,-1806.373,"---"]
[]
["部材番号 24 ( 24 - 25 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-42.003999999999998,-6.9370000000000003,-1812.6659999999999,0]
[null,1,0.111,-39.914999999999999,44.755000000000003,-1812.6659999999999,-1E-3]
[null,2,0.221,-32.113,96.447000000000003,-1812.6659999999999,-1E-3]
[null,"j",0.33200000000000002,-18.599,148.13900000000001,-1812.6659999999999,0]
[null,"MAX",0.33200000000000002,-18.599,148.13900000000001,-1812.6659999999999,"---"]
[null,"MIN",1.4999999999999999E-2,-42.055999999999997,0,-1812.6659999999999,"---"]
[]
["部材番号 25 ( 25 - 26 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-18.599,-10.409000000000001,-1818.68,0]
[null,1,0.111,-16.893999999999998,41.283000000000001,-1818.68,0]
[null,2,0.221,-9.4760000000000009,92.974999999999994,-1818.68,0]
[null,"j",0.33200000000000002,3.6539999999999999,144.667,-1818.68,0]
[null,"MAX",0.33200000000000002,3.6539999999999999,144.667,-1818.68,"---"]
[null,"MIN",2.1999999999999999E-2,-18.715,0,-1818.68,"---"]
[]
["部材番号 26 ( 26 - 27 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,3.6539999999999999,-14.391,-1824.3679999999999,0]
[null,1,0.111,4.92,37.301000000000002,-1824.3679999999999,0]
[null,2,0.221,11.898,88.992999999999995,-1824.3679999999999,0]
[null,"j",0.33200000000000002,24.588000000000001,140.685,-1824.3679999999999,0]
[null,"MAX",0.33200000000000002,24.588000000000001,140.685,-1824.3679999999999,"---"]
[null,"MIN",3.1E-2,3.4329999999999998,0,-1824.3679999999999,"---"]
[]
["部材番号 27 ( 27 - 28 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,24.588000000000001,-18.855,-1829.6869999999999,0]
[null,1,0.111,25.361000000000001,32.837000000000003,-1829.6869999999999,1E-3]
[null,2,0.221,31.844999999999999,84.528999999999996,-1829.6869999999999,1E-3]
[null,"j",0.33200000000000002,44.042000000000002,136.221,-1829.6869999999999,0]
[null,"MAX",0.33200000000000002,44.042000000000002,136.221,-1829.6869999999999,"---"]
[null,"MIN",0.04,24.207999999999998,0,-1829.6869999999999,"---"]
[]
["部材番号 28 ( 28 - 29 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,44.042000000000002,-23.765000000000001,-1834.597,0]
[null,1,0.111,44.271999999999998,27.927,-1834.597,1E-3]
[null,2,0.221,50.213999999999999,79.619,-1834.597,1E-3]
[null,"j",0.33200000000000002,61.868000000000002,131.31200000000001,-1834.597,0]
[null,"MAX",0.33200000000000002,61.868000000000002,131.31200000000001,-1834.597,"---"]
[null,"MIN",5.0999999999999997E-2,43.438000000000002,0,-1834.597,"---"]
[]
["部材番号 29 ( 29 - 30 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,61.868000000000002,-29.084,-1839.06,0]
[null,1,0.111,61.511000000000003,22.608000000000001,-1839.06,2E-3]
[null,2,0.221,66.864999999999995,74.3,-1839.06,2E-3]
[null,"j",0.33200000000000002,77.930999999999997,125.992,-1839.06,0]
[null,"MAX",0.33200000000000002,77.930999999999997,125.992,-1839.06,"---"]
[null,"MIN",6.2E-2,60.963999999999999,0,-1839.06,"---"]
[]
["部材番号 30 ( 30 - 31 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,77.930999999999997,-34.771999999999998,-1843.0429999999999,0]
[null,1,0.111,76.944999999999993,16.920000000000002,-1843.0429999999999,2E-3]
[null,2,0.221,81.671000000000006,68.611999999999995,-1843.0429999999999,2E-3]
[null,"j",0.33200000000000002,92.108999999999995,120.304,-1843.0429999999999,0]
[null,"MAX",0.33200000000000002,92.108999999999995,120.304,-1843.0429999999999,"---"]
[null,"MIN",7.3999999999999996E-2,76.638999999999996,0,-1843.0429999999999,"---"]
[]
["部材番号 31 ( 31 - 32 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,92.108999999999995,-40.784999999999997,-1846.5150000000001,0]
[null,1,0.111,90.457999999999998,10.907,-1846.5150000000001,2E-3]
[null,2,0.221,94.519000000000005,62.598999999999997,-1846.5150000000001,2E-3]
[null,"j",0.33200000000000002,104.292,114.291,-1846.5150000000001,0]
[null,"MAX",0.33200000000000002,104.292,114.291,-1846.5150000000001,"---"]
[null,"MIN",8.6999999999999994E-2,90.331000000000003,0,-1846.5150000000001,"---"]
[]
["部材番号 32 ( 32 - 33 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,104.292,-47.078000000000003,-1849.4490000000001,0]
[null,1,0.111,101.946,4.6139999999999999,-1849.4490000000001,3.0000000000000001E-3]
[null,2,0.221,105.312,56.305999999999997,-1849.4490000000001,3.0000000000000001E-3]
[null,"j",0.33200000000000002,114.39,107.998,-1849.4490000000001,0]
[null,"MAX",0.33200000000000002,114.39,107.998,-1849.4490000000001,"---"]
[null,"MIN",0.10100000000000001,101.92400000000001,0,-1849.4490000000001,"---"]
[]
["部材番号 33 ( 33 - 34 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,114.39,-53.603000000000002,-1851.8240000000001,0]
[null,1,0.111,111.32299999999999,-1.911,-1851.8240000000001,3.0000000000000001E-3]
[null,2,0.221,113.968,49.780999999999999,-1851.8240000000001,3.0000000000000001E-3]
[null,"j",0.33200000000000002,122.325,101.473,-1851.8240000000001,0]
[null,"MAX",0.33200000000000002,122.325,101.473,-1851.8240000000001,"---"]
[null,"MIN",0.115,111.319,0,-1851.8240000000001,"---"]
[]
["部材番号 34 ( 34 - 35 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,122.325,-60.31,-1853.6210000000001,0]
[null,1,0.111,118.51600000000001,-8.6180000000000003,-1853.6210000000001,3.0000000000000001E-3]
[null,2,0.221,120.42,43.073999999999998,-1853.6210000000001,3.0000000000000001E-3]
[null,"j",0.33200000000000002,128.036,94.766000000000005,-1853.6210000000001,0]
[null,"MAX",0.33200000000000002,128.036,94.766000000000005,-1853.6210000000001,"---"]
[null,"MIN",0.129,118.437,0,-1853.6210000000001,"---"]
[]
["部材番号 35 ( 35 - 36 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,128.036,-67.149000000000001,-1854.827,0]
[null,1,0.111,123.47199999999999,-15.456,-1854.827,3.0000000000000001E-3]
[null,2,0.221,124.62,36.235999999999997,-1854.827,3.0000000000000001E-3]
[null,"j",0.33200000000000002,131.47999999999999,87.927999999999997,-1854.827,0]
[null,"MAX",0.33200000000000002,131.47999999999999,87.927999999999997,-1854.827,"---"]
[null,"MIN",0.14399999999999999,123.21599999999999,0,-1854.827,"---"]
[]
["部材番号 36 ( 36 - 37 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,131.47999999999999,-74.066000000000003,-1855.432,0]
[null,1,0.111,126.152,-22.373999999999999,-1855.432,3.0000000000000001E-3]
[null,2,0.221,126.535,29.318000000000001,-1855.432,3.0000000000000001E-3]
[null,"j",0.33200000000000002,132.631,81.010000000000005,-1855.432,0]
[null,"MAX",0.33200000000000002,132.631,81.010000000000005,-1855.432,"---"]
[null,"MIN",0.158,125.617,0,-1855.432,"---"]
[]
["部材番号 37 ( 37 - 38 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,132.631,-81.010000000000005,-1855.433,0]
[null,1,0.111,126.535,-29.317,-1855.433,3.0000000000000001E-3]
[null,2,0.221,126.152,22.375,-1855.433,3.0000000000000001E-3]
[null,"j",0.33200000000000002,131.47999999999999,74.066999999999993,-1855.433,0]
[null,"MAX",0,132.631,-81.010000000000005,-1855.433,"---"]
[null,"MIN",0.17299999999999999,125.617,0,-1855.433,"---"]
[]
["部材番号 38 ( 38 - 39 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,131.47999999999999,-87.927000000000007,-1854.827,0]
[null,1,0.111,124.62,-36.234999999999999,-1854.827,3.0000000000000001E-3]
[null,2,0.221,123.47199999999999,15.457000000000001,-1854.827,3.0000000000000001E-3]
[null,"j",0.33200000000000002,128.036,67.149000000000001,-1854.827,0]
[null,"MAX",0,131.47999999999999,-87.927000000000007,-1854.827,"---"]
[null,"MIN",0.188,123.217,0,-1854.827,"---"]
[]
["部材番号 39 ( 39 - 40 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,128.036,-94.765000000000001,-1853.6220000000001,0]
[null,1,0.111,120.42100000000001,-43.073,-1853.6220000000001,3.0000000000000001E-3]
[null,2,0.221,118.517,8.6189999999999998,-1853.6220000000001,3.0000000000000001E-3]
[null,"j",0.33200000000000002,122.325,60.311,-1853.6220000000001,0]
[null,"MAX",0,128.036,-94.765000000000001,-1853.6220000000001,"---"]
[null,"MIN",0.20300000000000001,118.438,0,-1853.6220000000001,"---"]
[]
["部材番号 40 ( 40 - 41 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,122.325,-101.47199999999999,-1851.825,0]
[null,1,0.111,113.96899999999999,-49.78,-1851.825,3.0000000000000001E-3]
[null,2,0.221,111.324,1.9119999999999999,-1851.825,3.0000000000000001E-3]
[null,"j",0.33200000000000002,114.39100000000001,53.603999999999999,-1851.825,0]
[null,"MAX",0,122.325,-101.47199999999999,-1851.825,"---"]
[null,"MIN",0.217,111.32,0,-1851.825,"---"]
[]
["部材番号 41 ( 41 - 42 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,114.39100000000001,-107.997,-1849.45,0]
[null,1,0.111,105.313,-56.305,-1849.45,3.0000000000000001E-3]
[null,2,0.221,101.947,-4.6130000000000004,-1849.45,3.0000000000000001E-3]
[null,"j",0.33200000000000002,104.294,47.079000000000001,-1849.45,0]
[null,"MAX",0,114.39100000000001,-107.997,-1849.45,"---"]
[null,"MIN",0.23100000000000001,101.925,0,-1849.45,"---"]
[]
["部材番号 42 ( 42 - 43 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,104.294,-114.29,-1846.5150000000001,0]
[null,1,0.111,94.52,-62.597999999999999,-1846.5150000000001,2E-3]
[null,2,0.221,90.459000000000003,-10.906000000000001,-1846.5150000000001,2E-3]
[null,"j",0.33200000000000002,92.11,40.786000000000001,-1846.5150000000001,0]
[null,"MAX",0,104.294,-114.29,-1846.5150000000001,"---"]
[null,"MIN",0.24399999999999999,90.331999999999994,0,-1846.5150000000001,"---"]
[]
["部材番号 43 ( 43 - 44 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,92.11,-120.304,-1843.0429999999999,0]
[null,1,0.111,81.671999999999997,-68.611999999999995,-1843.0429999999999,2E-3]
[null,2,0.221,76.947000000000003,-16.920000000000002,-1843.0429999999999,2E-3]
[null,"j",0.33200000000000002,77.933000000000007,34.771999999999998,-1843.0429999999999,0]
[null,"MAX",0,92.11,-120.304,-1843.0429999999999,"---"]
[null,"MIN",0.25700000000000001,76.641000000000005,0,-1843.0429999999999,"---"]
[]
["部材番号 44 ( 44 - 45 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,77.933000000000007,-125.992,-1839.0609999999999,0]
[null,1,0.111,66.867000000000004,-74.3,-1839.0609999999999,2E-3]
[null,2,0.221,61.512,-22.608000000000001,-1839.0609999999999,2E-3]
[null,"j",0.33200000000000002,61.87,29.084,-1839.0609999999999,0]
[null,"MAX",0,77.933000000000007,-125.992,-1839.0609999999999,"---"]
[null,"MIN",0.26900000000000002,60.966000000000001,0,-1839.0609999999999,"---"]
[]
["部材番号 45 ( 45 - 46 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,61.87,-131.31100000000001,-1834.597,0]
[null,1,0.111,50.216000000000001,-79.619,-1834.597,1E-3]
[null,2,0.221,44.274000000000001,-27.927,-1834.597,1E-3]
[null,"j",0.33200000000000002,44.043999999999997,23.765000000000001,-1834.597,0]
[null,"MAX",0,61.87,-131.31100000000001,-1834.597,"---"]
[null,"MIN",0.28100000000000003,43.44,0,-1834.597,"---"]
[]
["部材番号 46 ( 46 - 47 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,44.043999999999997,-136.221,-1829.6869999999999,0]
[null,1,0.111,31.847000000000001,-84.528999999999996,-1829.6869999999999,1E-3]
[null,2,0.221,25.363,-32.837000000000003,-1829.6869999999999,1E-3]
[null,"j",0.33200000000000002,24.59,18.855,-1829.6869999999999,0]
[null,"MAX",0,44.043999999999997,-136.221,-1829.6869999999999,"---"]
[null,"MIN",0.29099999999999998,24.21,0,-1829.6869999999999,"---"]
[]
["部材番号 47 ( 47 - 48 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,24.59,-140.684,-1824.3679999999999,0]
[null,1,0.111,11.9,-88.992000000000004,-1824.3679999999999,0]
[null,2,0.221,4.923,-37.299999999999997,-1824.3679999999999,0]
[null,"j",0.33200000000000002,3.657,14.391999999999999,-1824.3679999999999,0]
[null,"MAX",0,24.59,-140.684,-1824.3679999999999,"---"]
[null,"MIN",0.30099999999999999,3.4350000000000001,0,-1824.3679999999999,"---"]
[]
["部材番号 48 ( 48 - 49 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,3.657,-144.667,-1818.68,0]
[null,1,0.111,-9.4730000000000008,-92.974999999999994,-1818.68,0]
[null,2,0.221,-16.890999999999998,-41.283000000000001,-1818.68,0]
[null,"j",0.33200000000000002,-18.597000000000001,10.409000000000001,-1818.68,0]
[null,"MAX",0,3.657,-144.667,-1818.68,"---"]
[null,"MIN",0.309,-18.713000000000001,0,-1818.68,"---"]
[]
["部材番号 49 ( 49 - 50 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-18.597000000000001,-148.13900000000001,-1812.6669999999999,0]
[null,1,0.111,-32.110999999999997,-96.447000000000003,-1812.6669999999999,-1E-3]
[null,2,0.221,-39.911999999999999,-44.755000000000003,-1812.6669999999999,-1E-3]
[null,"j",0.33200000000000002,-42.002000000000002,6.9370000000000003,-1812.6669999999999,0]
[null,"MAX",0,-18.597000000000001,-148.13900000000001,-1812.6669999999999,"---"]
[null,"MIN",0.317,-42.052999999999997,0,-1812.6669999999999,"---"]
[]
["部材番号 50 ( 50 - 51 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-42.002000000000002,-151.07400000000001,-1806.374,0]
[null,1,0.111,-55.84,-99.381,-1806.374,-1E-3]
[null,2,0.221,-63.965000000000003,-47.689,-1806.374,-1E-3]
[null,"j",0.33200000000000002,-66.379000000000005,4.0030000000000001,-1806.374,0]
[null,"MAX",0,-42.002000000000002,-151.07400000000001,-1806.374,"---"]
[null,"MIN",0.32300000000000001,-66.396000000000001,0,-1806.374,"---"]
[]
["部材番号 51 ( 51 - 52 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-66.379000000000005,-153.44800000000001,-1799.8489999999999,0]
[null,1,0.111,-80.478999999999999,-101.756,-1799.8489999999999,-2E-3]
[null,2,0.221,-88.867999999999995,-50.064,-1799.8489999999999,-2E-3]
[null,"j",0.33200000000000002,-91.543999999999997,1.6279999999999999,-1799.8489999999999,0]
[null,"MAX",0,-66.379000000000005,-153.44800000000001,-1799.8489999999999,"---"]
[null,"MIN",0.32800000000000001,-91.546999999999997,0,-1799.8489999999999,"---"]
[]
["部材番号 52 ( 52 - 53 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-91.543999999999997,-155.24600000000001,-1793.1420000000001,0]
[null,1,0.111,-105.843,-103.554,-1793.1420000000001,-3.0000000000000001E-3]
[null,2,0.221,-114.43,-51.862000000000002,-1793.1420000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-117.30500000000001,-0.16900000000000001,-1793.1420000000001,0]
[null,"MAX",0,-91.543999999999997,-155.24600000000001,-1793.1420000000001,"---"]
[null,"MIN",0.33200000000000002,-117.30500000000001,-0.16900000000000001,-1793.1420000000001,"---"]
[]
["部材番号 53 ( 53 - 54 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-117.30500000000001,-156.45099999999999,-1786.3030000000001,0]
[null,1,0.111,-131.73699999999999,-104.759,-1786.3030000000001,-3.0000000000000001E-3]
[null,2,0.221,-140.45699999999999,-53.067,-1786.3030000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-143.465,-1.375,-1786.3030000000001,0]
[null,"MAX",0,-117.30500000000001,-156.45099999999999,-1786.3030000000001,"---"]
[null,"MIN",0.33200000000000002,-143.465,-1.375,-1786.3030000000001,"---"]
[]
["部材番号 54 ( 54 - 55 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-143.465,-157.05699999999999,-1779.386,0]
[null,1,0.111,-157.964,-105.36499999999999,-1779.386,-4.0000000000000001E-3]
[null,2,0.221,-166.751,-53.673000000000002,-1779.386,-4.0000000000000001E-3]
[null,"j",0.33200000000000002,-169.82599999999999,-1.98,-1779.386,0]
[null,"MAX",0,-143.465,-157.05699999999999,-1779.386,"---"]
[null,"MIN",0.33200000000000002,-169.82599999999999,-1.98,-1779.386,"---"]
[]
["部材番号 55 ( 55 - 56 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-169.82599999999999,-145.84800000000001,-1515.6010000000001,0]
[null,1,0.111,-183.08600000000001,-94.155000000000001,-1515.6010000000001,-5.0000000000000001E-3]
[null,2,0.221,-190.63499999999999,-42.463000000000001,-1515.6010000000001,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-192.471,9.2289999999999992,-1515.6010000000001,0]
[null,"MAX",0,-169.82599999999999,-145.84800000000001,-1515.6010000000001,"---"]
[null,"MIN",0.312,-192.56200000000001,0,-1515.6010000000001,"---"]
[]
["部材番号 56 ( 56 - 57 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-192.471,-122.9,-1510.6379999999999,0]
[null,1,0.111,-203.196,-71.207999999999998,-1510.6379999999999,-5.0000000000000001E-3]
[null,2,0.221,-208.208,-19.515999999999998,-1510.6379999999999,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-207.50899999999999,32.176000000000002,-1510.6379999999999,0]
[null,"MAX",0,-192.471,-122.9,-1510.6379999999999,"---"]
[null,"MIN",0.26300000000000001,-208.61500000000001,0,-1510.6379999999999,"---"]
[]
["部材番号 57 ( 57 - 58 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-207.50899999999999,-99.606999999999999,-1507.694,0]
[null,1,0.111,-215.66,-47.914999999999999,-1507.694,-5.0000000000000001E-3]
[null,2,0.221,-218.09800000000001,3.7770000000000001,-1507.694,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-214.82499999999999,55.469000000000001,-1507.694,0]
[null,"MAX",0,-207.50899999999999,-99.606999999999999,-1507.694,"---"]
[null,"MIN",0.21299999999999999,-218.113,0,-1507.694,"---"]
[]
["部材番号 58 ( 58 - 59 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-214.82499999999999,-76.146000000000001,-1506.7919999999999,0]
[null,1,0.111,-220.38300000000001,-24.454000000000001,-1506.7919999999999,-5.0000000000000001E-3]
[null,2,0.221,-220.22900000000001,27.238,-1506.7919999999999,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-214.363,78.930000000000007,-1506.7919999999999,0]
[null,"MAX",0.33200000000000002,-214.363,78.930000000000007,-1506.7919999999999,"---"]
[null,"MIN",0.16300000000000001,-221.02199999999999,0,-1506.7919999999999,"---"]
[]
["部材番号 59 ( 59 - 60 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-214.363,-52.695999999999998,-1507.9369999999999,0]
[null,1,0.111,-217.33,-1.004,-1507.9369999999999,-5.0000000000000001E-3]
[null,2,0.221,-214.58500000000001,50.688000000000002,-1507.9369999999999,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-206.12799999999999,102.38,-1507.9369999999999,0]
[null,"MAX",0.33200000000000002,-206.12799999999999,102.38,-1507.9369999999999,"---"]
[null,"MIN",0.113,-217.33099999999999,0,-1507.9369999999999,"---"]
[]
["部材番号 60 ( 60 - 61 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-206.12799999999999,-29.434999999999999,-1511.1220000000001,0]
[null,1,0.111,-206.524,22.257000000000001,-1511.1220000000001,-5.0000000000000001E-3]
[null,2,0.221,-201.209,73.948999999999998,-1511.1220000000001,-5.0000000000000001E-3]
[null,"j",0.33200000000000002,-190.18100000000001,125.642,-1511.1220000000001,0]
[null,"MAX",0.33200000000000002,-190.18100000000001,125.642,-1511.1220000000001,"---"]
[null,"MIN",6.3E-2,-207.054,0,-1511.1220000000001,"---"]
[]
["部材番号 61 ( 61 - 62 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-190.18100000000001,-6.54,-1516.3219999999999,0]
[null,1,0.111,-188.048,45.152999999999999,-1516.3219999999999,-5.0000000000000001E-3]
[null,2,0.221,-180.202,96.844999999999999,-1516.3219999999999,-4.0000000000000001E-3]
[null,"j",0.33200000000000002,-166.64500000000001,148.53700000000001,-1516.3219999999999,0]
[null,"MAX",0.33200000000000002,-166.64500000000001,148.53700000000001,-1516.3219999999999,"---"]
[null,"MIN",1.4E-2,-190.227,0,-1516.3219999999999,"---"]
[]
["部材番号 62 ( 62 - 63 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-166.64500000000001,15.815,-1523.498,0]
[null,1,0.111,-162.041,67.507000000000005,-1523.498,-4.0000000000000001E-3]
[null,2,0.221,-151.72499999999999,119.199,-1523.498,-4.0000000000000001E-3]
[null,"j",0.33200000000000002,-135.697,170.89099999999999,-1523.498,0]
[null,"MAX",0.33200000000000002,-135.697,170.89099999999999,-1523.498,"---"]
[null,"MIN",0,-166.64500000000001,15.815,-1523.498,"---"]
[]
["部材番号 63 ( 63 - 64 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-135.697,37.46,-1532.5940000000001,0]
[null,1,0.111,-128.702,89.152000000000001,-1532.5940000000001,-3.0000000000000001E-3]
[null,2,0.221,-115.994,140.84399999999999,-1532.5940000000001,-3.0000000000000001E-3]
[null,"j",0.33200000000000002,-97.575000000000003,192.536,-1532.5940000000001,0]
[null,"MAX",0.33200000000000002,-97.575000000000003,192.536,-1532.5940000000001,"---"]
[null,"MIN",0,-135.697,37.46,-1532.5940000000001,"---"]
[]
["部材番号 64 ( 64 - 65 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-97.575000000000003,58.228999999999999,-1543.5429999999999,0]
[null,1,0.111,-88.284000000000006,109.92100000000001,-1543.5429999999999,-2E-3]
[null,2,0.221,-73.281999999999996,161.613,-1543.5429999999999,-2E-3]
[null,"j",0.33200000000000002,-52.567,213.30500000000001,-1543.5429999999999,0]
[null,"MAX",0.33200000000000002,-52.567,213.30500000000001,-1543.5429999999999,"---"]
[null,"MIN",0,-97.575000000000003,58.228999999999999,-1543.5429999999999,"---"]
[]
["部材番号 65 ( 65 - 66 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-52.567,77.963999999999999,-1556.26,0]
[null,1,0.111,-41.095999999999997,129.65600000000001,-1556.26,-1E-3]
[null,2,0.221,-23.911999999999999,181.34899999999999,-1556.26,-1E-3]
[null,"j",0.33200000000000002,-1.0169999999999999,233.041,-1556.26,0]
[null,"MAX",0.33200000000000002,-1.0169999999999999,233.041,-1556.26,"---"]
[null,"MIN",0,-52.567,77.963999999999999,-1556.26,"---"]
[]
["部材番号 66 ( 66 - 67 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,-1.0169999999999999,96.516999999999996,-1570.6489999999999,0]
[null,1,0.111,12.504,148.209,-1570.6489999999999,0]
[null,2,0.221,31.738,199.90100000000001,-1570.6489999999999,1E-3]
[null,"j",0.33200000000000002,56.683999999999997,251.59299999999999,-1570.6489999999999,0]
[null,"MAX",0.33200000000000002,56.683999999999997,251.59299999999999,-1570.6489999999999,"---"]
[null,"MIN",0,-1.0169999999999999,96.516999999999996,-1570.6489999999999,"---"]
[]
["部材番号 67 ( 67 - 68 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,56.683999999999997,113.744,-1586.6,0]
[null,1,0.111,72.108999999999995,165.43700000000001,-1586.6,2E-3]
[null,2,0.221,93.245999999999995,217.12899999999999,-1586.6,2E-3]
[null,"j",0.33200000000000002,120.095,268.82100000000003,-1586.6,0]
[null,"MAX",0.33200000000000002,120.095,268.82100000000003,-1586.6,"---"]
[null,"MIN",0,56.683999999999997,113.744,-1586.6,"---"]
[]
["部材番号 68 ( 68 - 69 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,120.095,129.51599999999999,-1603.992,0]
[null,1,0.111,137.26300000000001,181.208,-1603.992,4.0000000000000001E-3]
[null,2,0.221,160.143,232.9,-1603.992,4.0000000000000001E-3]
[null,"j",0.33200000000000002,188.73500000000001,284.59300000000002,-1603.992,0]
[null,"MAX",0.33200000000000002,188.73500000000001,284.59300000000002,-1603.992,"---"]
[null,"MIN",0,120.095,129.51599999999999,-1603.992,"---"]
[]
["部材番号 69 ( 69 - 70 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,188.73500000000001,143.71199999999999,-1622.692,0]
[null,1,0.111,207.47200000000001,195.405,-1622.692,5.0000000000000001E-3]
[null,2,0.221,231.92099999999999,247.09700000000001,-1622.692,5.0000000000000001E-3]
[null,"j",0.33200000000000002,262.08100000000002,298.78899999999999,-1622.692,0]
[null,"MAX",0.33200000000000002,262.08100000000002,298.78899999999999,-1622.692,"---"]
[null,"MIN",0,188.73500000000001,143.71199999999999,-1622.692,"---"]
[]
["部材番号 70 ( 70 - 71 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,262.08100000000002,156.22499999999999,-1642.558,0]
[null,1,0.111,280.60500000000002,179.03200000000001,-1642.558,7.0000000000000001E-3]
[null,2,0.221,301.64800000000002,201.84,-1642.558,7.0000000000000001E-3]
[null,"j",0.33200000000000002,325.21199999999999,224.64699999999999,-1642.558,0]
[null,"MAX",0.33200000000000002,325.21199999999999,224.64699999999999,-1642.558,"---"]
[null,"MIN",0,262.08100000000002,156.22499999999999,-1642.558,"---"]
[]
["部材番号 71 ( 71 - 72 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,325.21199999999999,80.634,-1655.8869999999999,0]
[null,1,0.111,335.38299999999998,103.441,-1655.8869999999999,8.0000000000000002E-3]
[null,2,0.221,348.07299999999998,126.249,-1655.8869999999999,8.0000000000000002E-3]
[null,"j",0.33200000000000002,363.28399999999999,149.05600000000001,-1655.8869999999999,0]
[null,"MAX",0.33200000000000002,363.28399999999999,149.05600000000001,-1655.8869999999999,"---"]
[null,"MIN",0,325.21199999999999,80.634,-1655.8869999999999,"---"]
[]
["部材番号 72 ( 72 - 1 )"]
[null,"着目点","距離","曲げモーメント","せん断力","軸力","たわみ"]
[null,null,"(m)","Mz(kN･m)","Sy(kN)","Nx(kN)","δ(mm)"]
[null,"i",0,363.28399999999999,4.1689999999999996,-1662.577,0]
[null,1,0.111,365.005,26.977,-1662.577,8.9999999999999993E-3]
[null,2,0.221,369.24599999999998,49.783999999999999,-1662.577,8.9999999999999993E-3]
[null,"j",0.33200000000000002,376.00799999999998,72.591999999999999,-1662.577,0]
[null,"MAX",0.33200000000000002,376.00799999999998,72.591999999999999,-1662.577,"---"]
[null,"MIN",0,363.28399999999999,4.1689999999999996,-1662.577,"---"]
["■面内変位"]
["◆基本荷重ケース 1："]
[null,"格点番号","水平変位","鉛直変位","回転変位"]
[null,null,"δx(mm)","δy(mm)","θz(mrad)"]
[null,1,2.0349400000000002,-2.3955299999999999,0]
[null,2,1.99631,-2.44225,0.24373]
[null,3,1.88408,-2.5022199999999999,0.47061999999999998]
[null,4,1.7089700000000001,-2.5865900000000002,0.66396999999999995]
[null,5,1.4878,-2.70235,0.81050999999999995]
[null,6,1.2397800000000001,-2.8520699999999999,0.91000999999999999]
[null,7,0.98279000000000005,-3.0342600000000002,0.96575999999999995]
[null,8,0.73253000000000001,-3.2440799999999999,0.98136999999999996]
[null,9,0.50202999999999998,-3.47404,0.96077999999999997]
[null,10,0.30124000000000001,-3.71468,0.90819000000000005]
[null,11,0.13691999999999999,-3.9554,0.82804999999999995]
[null,12,1.2579999999999999E-2,-4.1851799999999999,0.72502999999999995]
[null,13,-7.1410000000000001E-2,-4.39337,0.60394999999999999]
[null,14,-0.11745,-4.5703800000000001,0.46978999999999999]
[null,15,-0.13039000000000001,-4.7082499999999996,0.32762000000000002]
[null,16,-0.11693000000000001,-4.8011699999999999,0.18256]
[null,17,-8.5040000000000004E-2,-4.8458500000000004,3.977E-2]
[null,18,-4.3270000000000003E-2,-4.8417300000000001,-9.5610000000000001E-2]
[null,19,0,-4.7910899999999996,-0.2185]
[null,20,4.4159999999999998E-2,-4.69848,-0.32516]
[null,21,7.6020000000000004E-2,-4.5701599999999996,-0.41441]
[null,22,9.0969999999999995E-2,-4.4134099999999998,-0.48646]
[null,23,8.6040000000000005E-2,-4.2358000000000002,-0.54162999999999994]
[null,24,5.987E-2,-4.0448599999999999,-0.58038999999999996]
[null,25,1.2579999999999999E-2,-3.8477999999999999,-0.60331000000000001]
[null,26,-5.4280000000000002E-2,-3.65124,-0.61109999999999998]
[null,27,-0.13800999999999999,-3.46102,-0.60458000000000001]
[null,28,-0.23491999999999999,-3.2819699999999998,-0.58467999999999998]
[null,29,-0.34057999999999999,-3.11781,-0.55242000000000002]
[null,30,-0.45008999999999999,-2.97105,-0.50893999999999995]
[null,31,-0.55832000000000004,-2.8429600000000002,-0.45543]
[null,32,-0.66022000000000003,-2.7335799999999999,-0.39318999999999998]
[null,33,-0.75099000000000005,-2.64181,-0.32356000000000001]
[null,34,-0.82640999999999998,-2.56549,-0.24796000000000001]
[null,35,-0.88293999999999995,-2.5015700000000001,-0.16783999999999999]
[null,36,-0.91795000000000004,-2.4463400000000002,-8.4680000000000005E-2]
[null,37,-0.92979999999999996,-2.3955600000000001,0]
[null,38,-0.91795000000000004,-2.3447800000000001,8.4680000000000005E-2]
[null,39,-0.88293999999999995,-2.2895400000000001,0.16783000000000001]
[null,40,-0.82640999999999998,-2.2256300000000002,0.24796000000000001]
[null,41,-0.751,-2.1493099999999998,0.32356000000000001]
[null,42,-0.66022000000000003,-2.0575299999999999,0.39317999999999997]
[null,43,-0.55832999999999999,-1.9481599999999999,0.45543]
[null,44,-0.4501,-1.8200700000000001,0.50892999999999999]
[null,45,-0.34059,-1.6733100000000001,0.55242000000000002]
[null,46,-0.23493,-1.50915,0.58467999999999998]
[null,47,-0.13802,-1.3301000000000001,0.60458000000000001]
[null,48,-5.4289999999999998E-2,-1.13988,0.61109999999999998]
[null,49,1.2579999999999999E-2,-0.94332000000000005,0.60331000000000001]
[null,50,5.9859999999999997E-2,-0.74624999999999997,0.58040000000000003]
[null,51,8.6040000000000005E-2,-0.55530999999999997,0.54164000000000001]
[null,52,9.0969999999999995E-2,-0.37769999999999998,0.48647000000000001]
[null,53,7.6020000000000004E-2,-0.22094,0.41443000000000002]
[null,54,4.4159999999999998E-2,-9.2619999999999994E-2,0.32518000000000002]
[null,55,0,0,0.21851999999999999]
[null,56,-4.3270000000000003E-2,5.0650000000000001E-2,9.5630000000000007E-2]
[null,57,-8.5040000000000004E-2,5.4769999999999999E-2,-3.9750000000000001E-2]
[null,58,-0.11693000000000001,1.009E-2,-0.18254000000000001]
[null,59,-0.13039000000000001,-8.2820000000000005E-2,-0.3276]
[null,60,-0.11745,-0.22067999999999999,-0.46977000000000002]
[null,61,-7.1410000000000001E-2,-0.39768999999999999,-0.60394000000000003]
[null,62,1.257E-2,-0.60587999999999997,-0.72502]
[null,63,0.13691,-0.83565999999999996,-0.82804999999999995]
[null,64,0.30123,-1.07637,-0.90817999999999999]
[null,65,0.50202000000000002,-1.31701,-0.96077999999999997]
[null,66,0.73251999999999995,-1.54697,-0.98136999999999996]
[null,67,0.98277999999999999,-1.7567999999999999,-0.96575999999999995]
[null,68,1.23977,-1.9389799999999999,-0.91002000000000005]
[null,69,1.4878,-2.0886999999999998,-0.81052999999999997]
[null,70,1.7089700000000001,-2.2044800000000002,-0.66398000000000001]
[null,71,1.88408,-2.2888299999999999,-0.47061999999999998]
[null,72,1.99631,-2.3488099999999998,-0.24373]
["■面内反力"]
["◆基本荷重ケース 1："]
[null,"格点番号","水平反力","鉛直反力","回転反力"]
[null,null,"RX(kN)","RY(kN)","RM(kN･m)"]
[null,55,-257.08600000000001,-5.0000000000000001E-3,0]
[null,19,-257.08100000000002,0,0]